## Selector Guide
Purpose of the tool
The purpose of this tool is to help you find the Phoenix Contact list of I/O products that will best fit your application. This I/O list consists of our ECO line I/O which is best fit for this industry. Please refer to www.phoenixcontact.com/niagara for more information and a complete list of I/O options.
| Fill in these fields with the number of I/O points of the type in Column A |  |  | This is the number of I/O channels on the card
I/O Type | Number of channels required | Part Number | Part Description | Channels | Qty
Modbus remote I/O buscoupler
Digital In - 24VDC
Digital In - 120AC
Digital Out - 24VDC
Digital Out - 120AC
Analog In - 4..20mA
Analog In - 0-10V
Temperature inputs - Platinum PT1000
Temperature inputs - Platinum PT100
Temperature inputs - 10 k type II and III
Analog Out - 4..20mA
Analog Out - 0-10V
Additional RS-232 interface
Additional RS-485 interface
For information regarding a Phoenix Contact professional that can assist you, find your local Automation Sales Engineer in link below:
Automation Specialist
Note on A8: Note: This remote I/O station is connected via modbus TCP and includes 4 24V Digital Outputs and 8 24V Digital Inputs
Note on A10: Note: In order to supply power to the 120 V circuits, a power slice must be added. See details on part: 2861454
Note on A12: Note: In order to supply power to the 120 V circuits, a power slice must be added. See details on part: 2861454
Note on A17: Note: This IO card will work with most types of RTD sensors, including NTC 10 K type II and III.
Note on A21: Note: The ILC 2050 BI already includes two RS-485 interfaces compatible with BACnet MS/TP

## 
Item | Description | I/O | Channels
2703981 | ETH BK DI8 DO4 2TX-PAC | Modbus remote I/O buscoupler | 1
2702792 | IB IL 24 DI 8/HD-ECO | Digital In - 24VDC | 8
2861917 | IB IL 120 DI 1-PAC | Digital In - 120AC | 1
2702793 | IB IL 24 DO 8/HD-ECO | Digital Out - 24VDC | 8
2861920 | IB IL DO 1 AC-PAC | Digital Out - 120AC | 1
2702495 | IB IL AI 4/I/4-20-ECO | Analog In - 4..20mA | 4
2702496 | IB IL AI 4/U/0-10-ECO | Analog In - 0-10V | 4
2702501 | IB IL RTD 4/PT1000-ECO | Temperature inputs - Platinum PT1000 | 4
2702499 | IB IL RTD 4/PT100-ECO | Temperature inputs - Platinum PT100 | 4
2897952 | IB IL AI/TEMP 4 RTD-PAC | Temperature inputs - 10 k type II and III | 4
2702497 | IB IL AO 4/I/4-20-ECO | Analog Out - 4..20mA | 4
2702498 | IB IL AO 4/U/0-10-ECO | Analog Out - 0-10V | 4
2702795 | IB IL RS 232-ECO | Additional RS-232 interface | 1
2702141 | IB IL RS 485-ECO | Additional RS-485 interface | 1